	ROCHDALE METROPOLITAN BOROUGH COUNCIL

RISK ASSESSMENT

	Area/task: Boiler duties – site manager 
	School:   Boarshaw Community Primary School

	People who might be harmed i.e. staff, pupils, visitors:  Staff / Pupils 
	Assessment date:  02.09.16

	Are there any special considerations needed for new & expectant mothers or persons under 18, etc.   Yes / No    If yes, specify:
	Review date: 01.09.17

	Names of all involved in assessment process: (e.g. Headteacher, Department Head, Union rep, etc):

Jackie Harland – HT, Joan McDermott Care Taker  
	Headteacher authentication:

	Hazard / risk identified
 Task/ activity / process / stressor
	Current precautions in place
	Improvement action needed

following incidents, changes, etc. Place these on an action plan.

	SIGNIFICANT RISK(S) – CAUSE OF INJURY 
- Boiler plant not maintained 
- Lack of instruction/training 
- PPE not provided/used 
- Safeguards overruled 
- Slips, trips, falls
 - Ventilation
 - Explosion/fire 
- Manual handling 
- Working in high temperatures
 EFFECTS OF HAZARDS – POSSIBLE INJURY – Cuts
 - Bruises, fractures
 – minor to serious personal injury 
- Burns
 - Choking
 - Manual handling 
– injury
	- Caretaker to receive adequate training for duties 

 - Access to boiler room by authorised personnel only
 - Boiler room/bunkers to be kept locked when unoccupied
 - Boilers to be checked/inspected by competent heating engineers at appropriate intervals 
- Mains gas shut off valve to be easily located and a provided 
- Boiler rooms not to be used as storage facilities
 - Storage of combustible/flammable items prohibited
 - Fire exits to be signed and easily accessible 
- Lighting to boiler house steps to be adequate/improved where necessary
 - All steps to be clear and non-slip
 - Hot surfaces to be protected/signs erected as appropriate
 - COSHH assessments to be undertaken for all hazardous substances - Ensure ventilation is adequate/improved – seek further advice 
- All faults to be reported immediately to RMBC

 - Ensure adequate lighting inside boiler room
 - Inform others of whereabouts, location of keys

- Appropriate PPE to be provided eg boots, dust masks, gloves where appropriate
 - Manual handling assessments to be undertaken for all relevant tasks
	


This assessment should be reviewed following significant changes, the introduction of new machinery, equipment, substances or procedures & following incidents, or at least annually.
